## Slide 1: AP2 WH Lab Power Supply Regulator Improvement
Change from Superior voltage regulators ---
to Chroma Power Supplies

## Slide 2
480V 3PH
Drop
L1
L2
L3
N
G
Choma Power
Supply
L1
L2
L3
N
IN
OUT
(120v-G) L1
(120v-G,180°)L2
N1
N2
N3
G
Chamber Wall Outlets
240V
120V
DAQ - WT310E
Power Analyzer
+
-
Current
+
-
Voltage
Relay
Coil
G
(120v-G) L3
G
L1
L2
WH Test SW
Select unit voltage:
◦ 120V
 240V
240 (L2)
120 (N)
Station A
Station C
240V
120V
G
L1
L2
Duplicate Wiring
Stations B and D will be supported by a 2nd Chroma Power Supply
(Mirror image to what is shown here)
(4) Chroma Power supplies needed:
Chamber 5 (2), and Chamber 8 (2)
L1
N
G