SRI8610C Gas Chromatograph SHUTDOWN Procedure

Idle, not running

Stop the PeakSimple software from operating the GC.  Click the Run 1 button, and it should change from a bottom green light to a middle yellow light.  Any operation on the GC should be aborted and nothing should be running / cycling.

Running

Close the PeakSimple software.  If asked to save all, click No.

3A

Turn off the SRI8610C Gas Chromatograph (3A).  Be careful, it may be warm / hot.

4B

4A

Close the SRI Model H2-100 Hydrogen Generator output valve (4A), and switch the power off (4B).