## Panel BOM
BILL OF MATERIALS (1 panel)
ITEM | QTY | PART NUMBER | MANUFACTURER | DESCRIPTION | Price | Totals | Status
PBS-1 | 1 | N1A302412 | Hammond | NEMA 1 DOOR TYPE 30" X 24" X 12" | 287.34 | 287.34 | Supplier Order
| 1 | AP3024 | Hammond | Enclosure Panel N1A Series 26" x 22.50" | 62.2 | 62.2 | Supplier Order
| 1 | 0112100 | Camille Bauer/Ohio Semitronics | APLUS-Multifunction Power Meter (Ethernet no display) | 1470 | 1470 | Supplier Order
| 1 | 12973 | Ohio Semitronics | Current Transformer 100:5 | 103 | 103 | Supplier Order
GI-11 | 1 | 116TX | RED LION/NEWARK | 16 PORT NETWORK SWITCH | 378 | 378 | Supplier Order
GI-2 | 3 | KEYSIGHT 34972A | Newark | DATA LOGGER | 2064 | 6192 | Supplier Order
GI-3 | 3 | KEYSIGHT 34901A | Newark | 20 CH MULTIPLEXER (TC/VOLTAGE) | 548 | 1644 | In-House
GI-6 | 2 | L41007DCV3, BOX1 | LAUREL ELECTRONICS | DC Volt Meter Display with Ethernet | 390 | 780 | Supplier Order
GI-7 | 2 | L41007TF, BOX1 | LAUREL ELECTRONICS | T Type Tempearature Panel Meter with Ethernet | 390 | 780 | Supplier Order
GI-5 | 2 | L80007FR, BOX1 | LAUREL ELECTRONICS | COUNTER\RATE INDICATOR (ETHERNET) | 390 | 780 | Supplier Order
PBS-31 | 2 | R13-502A-05-B | MULTICOMP-NEWARK | PUSH BUTTON SWITCH SPST, OFF-(ON) | 1.91 | 3.82 | Supplier Order
PBS-4 | 1 | DPP50-15 | TDK-Lambda | 15V Power Supply | 70.93 | 70.93 | Supplier Order
PBS-43 | 1 | 01141.9-00 | NEWARK | Stego Thermostat | 22.74 | 22.74 | Supplier Order
PBS-32 | 2 | NC4MX | NEUTRIK | XLR AUDIO CONNECTOR PLUG 4 CONTACTS (PRESSURE) | 6.13 | 12.26 | Supplier Order
PBS-33 | 2 | NC4FP-1 | NEUTRIK | XLR AUDIO CONNECTOR JACK 4 CONTACTS (PRESSURE) | 9.8 | 19.6 | Supplier Order
PBS-34 | 2 | NC5MX | NEUTRIK | XLR AUDIO CONNECTOR PLUG 5 CONTACTS (FLOW) | 7.61 | 15.22 | Supplier Order
PBS-35 | 2 | NC5FP-1 | NEUTRIK | XLR AUDIO CONNECTOR JACK 5 CONTACTS (FLOW) | 13.01 | 26.02 | Supplier Order
PBS-39 | 1 | 4715MS-12TB50-A00 | NEWARK | VENTILATION FAN | 17.25 | 17.25 | Supplier Order
PBS-40 | 1 | 055015 | NEWARK | NMB TECHNOLOGIES FINGER GUARD | 2.18 | 2.18 | Supplier Order
PBS-41 | 1 | 432000 | NEWARK | NMB TECH FAN POWER CORD | 2.38 | 2.38 | Supplier Order
PBS-42 | 1 | FF121 | NEWARK | SILVERSTONE 120MM FAN FILTER | 4.99 | 4.99 | Supplier Order
PBS-12 | 1 | 1546413-3 | NEWARK | RJ-45 BULKHEAD | 25.76 | 25.76 | Supplier Order
PBS-38 | 1 | MJP2-12-T | OMEGA ELECTRONICS | MINIATURE SQUARE TC PANEL JACK TYPE T (12 TC's, two rows of 6) | 44.3 | 44.3 | Supplier Order
GW-18 | 2 | RSJ-T-S | OMEGA ELECTRONICS | STANDARD TYPE T PANEL JACK | 2.4 | 4.8 | Supplier Order
| 1 | HBL5279C | NEWARK | Power Entry Connector | 22.97 | 22.97 | Supplier Order
PBS-14 | 1 | 1050QC3 | CML | AMBER NEON LIGHT | 2.5 | 2.5 | Supplier Order
| 5 | 7209K43 | McMasterCarr | Micro Screw Signal Connector Female | 26.82 | 134.1 | Supplier Order
| 5 | 6897K37 | McMasterCarr | MicroScrew Male | 14.25 | 71.25 | Supplier Order
| 3 | HCT-0010 | Magnelab | SPLIT-Core DC Current Transducer |  |  | Supplier Order
| 2 | DCT-0016-10 | Magnelab | Split Core AC Transducer |  |  | Supplier Order
| 1 | 7026K6 | McMASTER CARR | 5A DIN Breaker | 17.9 | 17.9 | Supplier Order
| 1 | 7026K6 | McMASTER CARR | 20A DIN Breaker | 17.9 | 17.9 | Supplier Order
GW-13 | 10 | 12TX24SPP | OMEGA ELECTRONICS | THERMOCOUPLE EXTENSTION CABLE 12 PR. TYPE T | 6.15 | 61.5 | Supplier Order
GW-17 | A/R | PP-T-24-SLE-25 | OMEGA ELECTRONICS | THERMOCOUPLE EXTENSTION WIRE 1 PR. TYPE T | 20.9 | 20.9 | Supplier Order
| 29 | CDL4UN(I.S) | ALTECH | TERMINAL | 0.77 | 22.33 | Supplier Order
| 2 | CA702 | ALTECH | END STOP 502-3212 | 1.04 | 2.08 | Supplier Order
| A/R | MT6 | ALTECH | ID MARKER FOR CDL4UN(I.S) | 5.94 | 5.94 | Supplier Order
| A/R | 2094.0/1M | ALTECH | DIN 3' RAIL #502-2020 35mm x 7.5mm | 5.07 | 5.07 | Supplier Order
| A/R | CA722/10 | ALTECH | INTERNAL JUMPER 10 POLE FOR CDL4UN(I.S) | 2.41 | 2.41 | Supplier Order
| A/R | SPCDL4U | ALTECH | PARTITION PLATE FOR CDL4UN(I.S) | 0.34 | 0.34 | Supplier Order
| A/R | T1-1515W-1 | AUTOMATION DIRECT | WIRE DUCT, 1.50 x 1.50 WHT, SLOTTED, 2M, W/ COVER | 17 | 17 | Supplier Order
| A/R | 105900 | STAPLES | 5' LAN CABLE (STP Cat6A) | 6.19 | 6.19 | Supplier Order
| A/R |  | MCMASTER CARR | MISCELLANEOUS HARDWARE

## System BOM (Internal Only)
BILL OF MATERIALS
ITEM | QTY | PART NUMBER | MANUFACTURER | DESCRIPTION | Price | Totals | Status
GI-8 | 1 | FTB4605 | OMEGA ELECTRONICS | FLOW METER | 202 | SUPPLIED | Use Current
GW-4 | 3 | CX5302 | OMEGA ELECTRONICS | Extra mating DIN connector for PX419 | 15.25 |  | Ordered
GW-5 | 3 | PX419-050G5V | OMEGA ELECTRONICS | 50 psig high accuracy transducer, 0-5 Vdc output, mini-DIN Termination | 550 |  | Ordered
| 1 | ITHX-D3 | OMEGA ELECTRONICS | TEMPERATURE/HUMIDITY SENSOR | 315 | SUPPLIED | Ordered